REQUEST FOR QUOTATION - GOODS (RFQG)

| Project Title: Source of Funding: Contract Ref: Date of Issue of Request: | “Climate Change and Disaster-Resilient Water Resources Sector Project” L3746-KGZ (COL) MOES-G-RFQ-5, Procurement of Water Flow Velocity Meters (WFVM) with recorders (hydrometric flow velocity meters) August 21, 2026 |
| --- | --- |

To:                                        _______________

Sir/Madam:

- The Hydrometeorology Service under the Ministry of Emergency Situations of the Kyrgyz Republic (Purchaser) hereby requests you to submit price quotation/(s) for the supply of the following items:

- Procurement of Water Flow Velocity Meters (WFVM) with recorders (hydrometric flow velocity meters)

To assist you in the preparation of your price quotation we enclose the necessary Supply and Delivery Schedule, Technical Specifications, Form of Quotation and draft Contract.

- If you/your firm, however, falls under any of the following conditions, your proposal shall not be considered:

- you/your firm are/is not a citizen/national of an ADB member country, or

- you/your firm have/has been associated with the firm that prepared the design and specifications, or engaged in the preparation of the Project for which the contract that is subject of this request for quotations was identified, or

- you/your firm are/is owned by the Purchaser, or

- you/your firm are/is currently sanctioned or temporarily suspended by the Asian Development Bank for a violation of its Anticorruption Policy (1998, as amended to date), or

- the importation of goods or services from your country or any payment to persons or entities in your country is prohibited in compliance with a decision of the United Nations Security Council under Chapter VII of the Charter of the United Nations.

- To be qualified, you must have experience as a manufacturer or authorized supplier of the items covered by this Request for Quotation and, as evidence,  you must also attach a document of your experience as supplier in at least one contract in the last 3 years of a size and nature similar to the items in the supply schedule of this contract.

- Your quotation should be submitted in accordance with the following instructions, procedures, and the terms and conditions of the Contract.

Preparation of Quotations

- Your price quotation/(s) shall be for all the items as described in attached documents and submitted only in the attached Form of Quotation with the priced Supply, Delivery and Price Schedule. The currency of quoted prices and payment shall be in Kyrgyz Som.

- The prices should be quoted for supply and delivery to 71A, Lushikhin Street. Bishkek City, Kyrgyz Republic (Hydrometeorological Service Supply Base) and should be accompanied by adequate technical documentation and catalogue(s) and other printed material or pertinent information in Russian language for each item quoted, including names and addresses of firms providing after-sales service facilities in Bishkek, Kyrgyz Republic.

- You shall submit only one set of quotations for the above items. Your quotation must be typed or written in indelible ink and shall be signed by you or your authorized representative. Without a signature in your Form of Quotation, your quotation will not be considered further.

- You shall submit one original of the Form of Quotation, and clearly marked “Original”. In addition, you shall also submit one copy marked as “COPY”. In case of any discrepancy between the Original and Copy, the original shall prevail.

- Your quotation(s) should be valid for a period of 30 days from the deadline for submission of the quotation/(s) as indicated below. If you withdraw your quotation during the validity period and/or refuse to accept the award of a contract when and if awarded, then you will be excluded from the list of Suppliers for the project for two years

Submission and Opening

- Your Form of Quotation with the priced Supply and Delivery Schedule should be submitted by September 04, 2026 15:00 (Bishkek time) with the required documents that should be signed, sealed in an envelope and addressed to and delivered to the following address:

Purchaser’s Address	: Room 328, 4A, Toktonaliev Street. Bishkek City, Kyrgyz Republic  Telephone 		: +996 312 54 90 72

- Quotations shall be opened in public, in the presence of participating suppliers’ representatives who choose to attend, on same date as for quotation submission at time within one hour of stated deadline above and at the following address.  Room 328, 4A, Toktonaliev Street. Bishkek City, Kyrgyz Republic.

Evaluation and Comparison

- Quotations determined to be substantially responsive to this Request for Quotation will be evaluated by comparison of their offer prices. A quotation is not substantially responsive if it contains material deviations or reservations to the terms, conditions, and specifications in this Request for Quotation.

- In evaluating the quotations, the Purchaser will adjust for any arithmetical errors as follows:

- where there is a discrepancy between amounts in figures and in words, the amount in words will govern; and

- where there is a discrepancy between the unit rate and the line item total resulting from multiplying the unit rate by the quantity, the unit rate as quoted will govern.

If you refuse to accept the correction, your quotation will be rejected.

Award of Contract

- The Purchaser shall award the contract to the Supplier whose quotation has been determined to be substantially responsive to this Request for Quotation and who has offered the lowest price quotation.

- The Supplier whose quotation has been accepted will be notified by the Purchaser within 30 days from the date of submission of quotation through the return of a copy of the Form of Quotation with Acceptance signed by the authorized representative of the Purchaser.

- The successful Supplier shall sign the Contract governed by the Contract Terms and Conditions. In addition to the quoted price, the contract price shall include Value Added Tax (VAT) in the Kyrgyz Republic.

- Further information can be obtained from:

Name		: Nabiev Nurlan Burhanovich

Address	: 720055, 4A Toktonalieva Street, floor # 3, room # 328

Telephone	: +996 312 54 90 72

Fax		: +996 312 54 90 72

E-mail		: ccd-rwrsp@water.gov.kg

- The Purchaser intends to apply funds from the Asian Development Bank (ADB) for eligible payments under the Contract resulting from this Request for Quotation.

- Under ADB’s Anticorruption Policy (1998, as amended to date), suppliers shall observe the highest standard of ethics during the procurement and execution of such contracts. ADB may reject a proposal for award, and may impose sanctions or other remedial actions on parties involved, if it determines that the supplier recommended for award or any other party, directly or through an agent, has engaged in corrupt, fraudulent, collusive, coercive, or obstructive practices or other integrity violations in competing for, or in executing, the Contract. At the time of submission of your quotation, you should not be in ADB’s sanctions list. A firm/individual shall not be eligible to participate in any procurement activities under an ADB-financed, -administered, or -supported project while under temporary suspension or debarment by ADB pursuant to its Anticorruption Policy, whether such debarment was directly imposed by ADB, or enforced by ADB pursuant to the Agreement for Mutual Enforcement of Debarment Decisions.

- You/your firm, joint venture partners, associates, parent company, affiliates or subsidiaries, including any subcontractors or suppliers for any part of the Contract, are not, or have never been, temporarily suspended, debarred, declared ineligible, or blacklisted by the purchaser’s country, any international organization, and other donor agency.

If so debarred, declared ineligible, temporarily suspended, or blacklisted, please state details (as applicable to each joint venture partner, associate, parent company, affiliate, subsidiaries, subcontractors, and/or suppliers):

- Name of Institution: __________________

- Period of debarment, ineligibility, or blacklisting (start and end date): ____________

- Reason for the debarment, ineligibility, or blacklisting: ________________________

- You/your firm’s, joint venture partners’, associates’, parent company’s affiliates’ or subsidiaries’, including any subcontractors’ or suppliers’, key officers and directors have not been [charged or convicted] of any criminal offense (including felonies and misdemeanors) or infractions/violations of ordinance which carry the penalty of imprisonment.

If so charged or convicted, please state details:

- Nature of the offense/violation: __________________

- Court/Area of jurisdiction: __________________

- Resolution (i.e. dismissed; settled; convicted/duration of penalty): __________________

- Other relevant details:

- You/your firm understands that it is your obligation to notify ADB should you/your firm, joint venture partners, associates, parent company, affiliates or subsidiaries, including any Subcontractors or Suppliers, be temporarily suspended, debarred or become ineligible to work with ADB or any other multilateral development banks, the purchaser’s country, international organizations, and other donor agencies, or any of your key officers and directors be charged or convicted of any criminal offense or infractions/violations of ordinance which carry the penalty of imprisonment.

- Any misrepresentation that knowingly or recklessly misleads, or attempts to mislead may lead to the automatic rejection of the quotation/bid or cancellation of the contract, if awarded, and may result in remedial actions, in accordance with ADB’s Anticorruption Policy (1998, as amended to date) and Integrity Principles and Guidelines (2015 as amended from time to time).

- A bidder shall not have a conflict of interest. All bidders found to have a conflict of interest shall be disqualified.

- Please confirm by fax/e-mail the receipt of this request and whether or not you will submit the price quotation(s).

Sincerely,

______________________

(Purchaser)

Attachment 1

SUPPLY AND DELIVERY SCHEDULE

| # | Name of equipment | Unit of measurement | Quantity | Unit price in KGS | Total Price in KGS (including all taxes, duties, fees, transportation to destination) | Delivery Schedule (45 days) |
| --- | --- | --- | --- | --- | --- | --- |
| 1 | Water Flow Velocity Meters (WFVM) with recorders (hydrometric flow velocity meters) for the Hydrometeorological Service | Pcs. | 10 |  |  |  |
|  | Total price excluding Taxes |  |  |  |  |  |
|  | VAT amount |  |  |  |  |  |
|  | Sales tax amount |  |  |  |  |  |
|  | Total price including Taxes |  |  |  |  |  |

Attachment 2

TECHNICAL SPECIFICATIONS

  - INTRODUCTION

# The Kyrgyz Republic has received financing from the Asian Development Bank (ADB) to cover the costs of the "Enhancing the Resilience of Water Resources to Climate Change and Natural Disasters" Project and intends to use part of the funds for payments under the MOES-G-RFQ-5, Procurement of Water Flow Velocity Meters (WFVM) with recorders (hydrometric flow velocity meters) for the Hydrometeorological Service (Kyrgyzhydromet) of the Ministry of Emergency Situations of the Kyrgyz Republic

# The equipment purchased under this Contract must meet the following specifications and technical requirements:

  - GENERAL REQUIREMENTS FOR EQUIPMENT

### Volume of deliveries

- Services must be provided no later than 45 days from the date of signing the Contract.

  - Delivery of Water Flow Velocity Meters (WFVM) with recorders (hydrometric flow velocity meters) in accordance with the Technical Specifications described below.

  - Operating and maintenance manuals with a maintenance program in Kyrgyz and Russian languages.

GENERAL TECHNICAL FEATURES

General tender requirements

- The supplier guarantees the functionality and proper operation of all equipment, including by offering models that are in mass production for the minimum required.

- A detailed description of the equipment, including dimensions, specifications, weight, etc., must be attached to the application.

Operational Reliability

- Bidders must demonstrate that the models (or modifications) they offer have been in mass production for at least 2 (two) years and operate with the required efficiency. Bidders can demonstrate compliance with this requirement by providing copies of completed contracts, letters of recommendation, etc. The proposed products are covered by the manufacturer's warranty for the period specified in the Customer's Technical Specifications, starting from the date of delivery to the Customer.

- All defects will be repaired by the Supplier without any costs for the Customer within 30 days from the date of notification from the Customer. Specify the name and address of the service center where the Supplier must repair defects during the warranty period ___________.

- The warranty must include a commitment to have an "Authorized Agent" in Bishkek of the Kyrgyz Republic who provides warranty or post-warranty service for the equipment supplied.

DDP Bishkek* *

### General terms and conditions

- All materials and equipment supplied must be new and unused and meet all Kyrgyz Republic standards and ADB requirements, as well as the legislation of the Kyrgyz Republic and be fit for operation.

### Standards and norms

All standards and norms must comply with generally recognized international standards, as well as the standards of the Kyrgyz Republic.

### Safety regulations

### The proposed equipment must meet high safety standards and comply with the legislation of the Kyrgyz Republic that may be applied.

### General marking requirements

- All equipment supplied must be securely labeled in accordance with the manufacturer's labeling system and instructions.

- All parts must be complete

- All parts of the equipment must be provided with all necessary accessories to perform their functions described herein or sufficient to ensure that each part and component meet the requirements for ensuring the full functionality of the device.

Technical Specifications

for Water Flow Velocity Meters (WFVM) with recorders (hydrometric flow velocity meters) for the Hydrometeorological Service (Kyrgyzhydromet) of the Ministry of Emergency Situations of the Kyrgyz Republic

General: All offered in batches units of equipment must be suitable for long-term operation for 5-10 years.

| Name, type | Purpose | Unit | Qty |
| --- | --- | --- | --- |
| Water Flow Velocity Meter (WFVM) with a recorder (hydrometric flow velocity meter) | To measure the speed of water flow in hydrometric observations on rivers, canals and other open watercourses in order to determine water flow | pc | 10 |

Technical specifications

|  | Required technical specifications |  | Technical specifications of the proposed equipment (To be completed by the bidder) |  |
| --- | --- | --- | --- | --- |
| No. | Parameters | Values | Parameters | Values |
| 1 | Flow velocity measurement range, m/s, with: |  |  |  |
|  | - a max Ø 100-120 mm spinner blade propeller | 0.04... 5.0 |  |  |
|  | - a max Ø 60-80 mm spinner blade propeller | 0. 10... 5.0 |  |  |
| 2 | Propeller blade revolution counting range, rev., max | 1... 3000 |  |  |
| 3 | Flow velocity measuring time, s, min | 60-300 |  |  |
| 4 | No. 1 propeller blade critical speed, m/s, min | 10 |  |  |
| 5 | Power supply, V, max | 2. 8–5.0 |  |  |
| 6 | Reading form | digital hundredth |  |  |
| 7 | Measurement display: | - measurement time interval; - average propeller blade rotation frequency during measurement, rpm; - average flow speed. |  |  |
| 8 | ISO-1 normal operating conditions: |  |  |  |
|  | - ambient air temperature, °C | +15... +25 |  |  |
|  | - relative ambient air humidity, % | 50... 80 |  |  |
|  | - DC voltage, V | 2. 8... 5.0 |  |  |
| 9 | WFVM operating conditions: |  |  |  |
|  | - ambient air temperature, °C, min | from -20 to +40 |  |  |
|  | - relative humidity of the ambient air, %, | 10 – 80 |  |  |
| 10 | Spinner operating conditions: |  |  |  |
|  | - water temperature, °C | from +1 to +20 |  |  |
| 11 | Spinner dimensions, mm, with a Ø 120 mm blade propeller, max | 120 x 285 (without stabilizer) 120 x 540 (with stabilizer) |  |  |
| 12 | Spinner dimensions, mm, with a Ø 70 mm blade propeller, max | 70 x 285 (without stabilizer) 70 x 540 (with stabilizer) |  |  |
| 13 | Converter dimensions, mm, max | 125 x 75 x 45 |  |  |
| 14 | Spinner weight max, kg, with: |  |  |  |
|  | - a Ø 120 mm spinner blade propeller, max | 1.5 |  |  |
|  | - a Ø 70 mm spinner blade propeller, max | 1.4 |  |  |
| 15 | WFVM weight in a case, kg, max | 7 |  |  |
| WFVM delivery set: |  |  |  |  |
| 1 | GR-21M1 hydrometric spinner with a Ø 120 mm blade propeller | 1 |  |  |
| 2 | WFVM with recorder | 1 |  |  |
| 3 | Signal wire | 1 |  |  |
| 4 | Directional stabilizer | 1 |  |  |
| 5 | Spare parts kit | 1 |  |  |
| 6 | Case | 1 |  |  |
| 7 | ## WFVM documentation: - passport or operating manual in Russian (English is acceptable with a Russian translation) - verification methodology - verification certificate | 1 |  |  |
| Warranty and year of manufacture |  |  |  |  |
| 1 | Operation warranty period The warranty period for all measuring instruments shall be at least 12 months from the date of commissioning or at least 18 months from the date of delivery. |  |  |  |
| 2 | Year of manufacture The equipment must be new, previously unused, and not refurbished; the year of manufacture must be no earlier than 2025. |  |  |  |
| 3 | Certification Requirements - The Supplier must provide a verification or calibration certificate for each measuring instrument, issued by a laboratory accredited in accordance with ISO/IEC 17025, and register the instrument in the State Register of Measuring Instruments of the Kyrgyz Republic (if the instrument is already listed in the State Register, a copy of the confirming document must be attached). - Warranty obligations. The warranty shall cover all supplied measuring instruments throughout the territory of the Kyrgyz Republic; - The Supplier shall provide warranty service for the supplied products at no additional cost to the Purchaser. Warranty service is defined as the restoration of the operational capability of a specific device (or a part thereof). The warranty period for all supplied equipment shall be at least 12 months from the date of signing the Certificate of Completion. The warranty period commences on the date of signing the acceptance certificate for the goods and services. |  |  |  |

Note: The equipment must be delivered fully assembled and ready for use without the need to purchase additional components, in its original packaging for safe transportation.

FORM OF QUOTATION

(Goods)

To: Hydrometeorology Service under the Ministry of Emergency Situations of the Kyrgyz Republic

Room 328, 4A, Toktonaliev Street. Bishkek City, Kyrgyz Republic

We offer to execute the___________________________________________[name and number of Contract] in accordance with the Contract Terms and Conditions and the priced Supply and Delivery Schedule accompanying this Quotation for the Contract Price of _________________________[amount in words and numbers] (______________) [name of currency]_____________.  We propose to complete the delivery of Goods described in the Contract within the Delivery Time indicated in the priced Supply and Delivery Schedule.

This Quotation and your written acceptance will constitute a binding Contract between us.  We understand that you are not bound to accept the lowest or any Quotation you receive.

We hereby confirm that this Quotation complies with the Validity of the Offer and Warranty conditions imposed by the Request for Quotation document and the Contract Terms and Conditions, respectively.

We: (a) are a national of an ADB member country; (b) have not been associated with the firm that prepared the design and specifications of the contract that is subject of this request for quotation; (c) are not owned by the Purchaser; (d) are not currently sanctioned or temporarily suspended by the Asian Development Bank; and (e) to the best of our knowledge, is not prohibited from being contracted in compliance with a decision of the United Nations Security Council.

Name of Supplier	: ________________________________

Authorized Signature	: ________________________________

Name of Signatory	: ________________________________

Title of Signatory	: ________________________________

Address	  	: ________________________________

Telephone Number    	: ________________________________

Fax Number, if any	: ________________________________

Email address (optional): ________________________________

ACCEPTANCE

Name of Purchaser	 : ________________________________

Authorized Signature       : ________________________________

Name of Signatory           : ________________________________

Title of Signatory              : ________________________________

Date                                  : ________________________________

CONTRACT

Name of Country: Kyrgyz Republic

Project Name: “Climate Change and Disaster-Resilient Water Resources Sector Project”

Name of Contract: Procurement of Water Flow Velocity Meters (WFVM) with recorders (hydrometric flow velocity meters)

Contract Number: MOES-G-RFQ-5

This Contract is entered into on __[date]__ day of _[month]_,_ [year], between ____[name of Purchaser]___________ (hereinafter called “the Purchaser”) on the one part, and  ____[name of Supplier]___________  (hereinafter called “the Supplier”) on the other part.

Whereas the Purchaser has requested for quotation for ______________ [description of goods] to be supplied by Supplier in accordance with the Contract,  and has accepted the Quotation by the Supplier in the amount of ___[amount in words]___ [amount in figures] hereinafter called “the Contract Price”.

The Purchaser and the Supplier agree as follows:

- The following documents shall be deemed to form and be read and construed as part of this Contract, viz:

- Form of Quotation, with Supply and Delivery Schedule;

- Contract Terms and Conditions; and

- Technical Specifications

- Taking into account payments to be made by the Purchaser to the Supplier as provided herein, the Supplier hereby enters into this Contract with the Purchaser to execute and complete the supply of goods under the Contract and remedy any defects therein in conformity with the provisions of this Contract and its Terms and Conditions.

- The Purchaser agrees to pay the Supplier, in consideration of the supply and delivery of the goods and the remedying of defects therein, the Contract Price as indicated and accepted in the Form of Quotation, under payment terms stipulated in the Contract Terms and Conditions.

IN WITNESS whereof the parties hereto have executed the Contract under the laws of __________ [country of Purchaser] on the date indicated above.

| Signature and seal of the Purchaser: For and on behalf of _____________________________ Name of Authorized Representative | Signature and seal of the Suppler: For and on behalf of _____________________________ Name of Authorized Representative |
| --- | --- |

CONTRACT TERMS AND CONDITIONS

| Project Name: | Climate Change and Disaster-Resilient Water Resources Sector Project |
| --- | --- |
| Purchaser: | Hydrometeorology Service under the Ministry of Emergency Situations of the Kyrgyz Republic |
| Package No. | MOES-G-RFQ-5, Procurement of Water Flow Velocity Meters (WFVM) with recorders (hydrometric flow velocity meters) |

- Definitions

- “Contract” means the agreement entered into between the Purchaser and the Supplier, together with the Contract Documents referred to therein, including all attachments, appendixes, and all documents incorporated by reference therein.

- “Contract Documents” means the documents listed in the Agreement, including any amendments thereto.

- “Contract Price” means the price payable to the Supplier as specified in the Agreement, subject to such additions and adjustments thereto or deductions therefrom, as may be made pursuant to the Contract.

- “Delivery” means the transfer of the Goods from the Supplier to the Purchaser in accordance with the terms and conditions set forth in the Contract.

- “Completion” means the fulfilment of the delivery and any related service by the Supplier in accordance with the terms and conditions set forth in the Contract.

- “Goods” means all of the commodities, raw material, machinery and equipment, and/or other materials that the Supplier is required to supply to the Purchaser under the Contract.

- “Purchaser” means the entity purchasing the Goods and Related Services, as specified in the SCC.

- “Supplier” means the natural person, private or government entity, or a combination of the above, whose bid to perform the Contract has been accepted by the Purchaser and is named as such in the Agreement, and includes the legal successors or permitted assigns of the Supplier.

- “ADB” is the Asian Development Bank.

- Applicable Law

2.1	The Contract shall be interpreted in accordance with the laws of the Kyrgyz Republic.

- Language

  - All communications and documents related to the Contract shall be in English.

- Assignment

4.1	Any assignment of this Contract or of any rights hereunder, in whole or in part without the prior written consent of the Purchaser shall be void.

- Fraud and Corruption

5.1	This Contract shall be covered by the provisions of ADB’s Anticorruption Policy (1998, as amended to date) and Integrity Principles and Guidelines (2015, as amended from time to time) that requires Borrowers (including beneficiaries of ADB-financed activity), as well as Suppliers and Contractors under ADB-financed contracts, to observe the highest standard of ethics during the procurement and execution of such contracts.

- Fixed Contract Price

6.1 	The prices indicated in the Form of Quotation are firm and fixed and not subject to any adjustment during contract performance.

- Delivery Schedule

7.1	The delivery should be completed as per schedule indicated in the Supply and Delivery Schedule but not exceeding 45 days from the date of signing of contract.

- Required Technical Specifications (with attachments as necessary)

- General Description

- Specific details and technical standards

- Performance Parameters

Supplier confirms compliance with above specifications.

- Delivery and Documents

9.1	Upon delivery, the Supplier shall provide the following documents to the Purchaser:

- copies of the Supplier’s invoice showing goods’ description, quantity, unit price, and total amount;

- manufacturer's or supplier's warranty certificate; and

- packing list.

If goods are coming by courier, supplier shall also provide prior to delivery, copies of documents that will enable Purchaser to receive the goods. The above documents shall be received by the Purchaser at least one week before arrival of the goods and, if not received, the Supplier shall be responsible for any consequent expenses.

- Taxes and Duties

10.1	The Supplier shall be entirely responsible for all taxes, duties, license fees, etc., incurred until delivery of the contracted Goods to the Purchaser.

- Payment

11.1	Payment of the contract price shall be made in the following manner:

(a) 100% of the cost of the confirmed volume of goods, as specified in the Price List, after the delivery is completed and the Acceptance Certificate is issued by the Customer, and no later than 30 days after the Acceptance Certificate is issued.

- Warranty

12.1	Goods offered should be covered by manufacturer’s warranty for at least 12 months from the date of delivery to the Purchaser.

- Defects

13.1	All defects will be corrected by the Supplier without any cost to the Purchaser within 30 day from the date of notice by Purchaser. The name and address of service facility where the defects are to be corrected by the Supplier within the warranty period are:

Facility _________________________

Address _________________________

_________________________

- Resolution of Disputes

14.1	The Purchaser and the Supplier shall make every effort to resolve amicably by direct informal negotiation any disagreement or dispute between them under or in connection with the Contract. In the case of an unresolved dispute between the Purchaser and the Supplier, the dispute shall be settled in accordance with the provisions of the Kyrgyz Republic.

- Failure to Perform

15.1	The Purchaser may cancel the Agreement if the Supplier fails to deliver the Goods, in accordance with the above terms and conditions, despite a 14-day notice given by the Purchaser, without incurring any liability to the Supplier.

- Force Majeure

16.1	The supplier shall not be liable for penalties or termination for default if and to the extent that its delay in performance or other failure to perform its obligations under the Contract is the result of an event of Force Majeure.

- For purposes of this Clause, “Force Majeure” means an event beyond the control of the Supplier and not involving the Supplier’s fault or negligence and not foreseeable. Such events may include, but not restricted to, act of Purchaser in its sovereign capacity, wars or revolutions, fires, floods, epidemics, quarantine restrictions, and freight embargoes.

- If a Force Majeure situation arises, the Supplier shall promptly notify the Purchaser in writing of such condition and the cause thereof. Unless otherwise directed by the Purchaser in writing, the Supplier shall continue to perform its obligations under the Contract as far as is reasonably practical and shall seek all reasonable alternative means for performance not prevented by Force Majeure event.

- Termination Due to Integrity Violation

17.1	The Purchaser may terminate this Contract, in whole or in part, if the Supplier, in the judgment of the Purchaser has engaged in integrity violations in accordance with Clause 5 [Fraud and Corruption], in competing for or in executing this Contract.

- Accounts and Records

18.1	The Supplier shall keep accurate and systematic accounts and records in respect of the delivered goods in such form and detail as are customary in the industry, for a period of no less than 3 years after the expiration or termination of this Contract.

- Suspension of ADB Loan or Credit

19.1	In the event that ADB suspends the Loan or Credit to the Purchaser, from which part of the payments to the Supplier are being made,

- the Purchaser is obligated to notify the Supplier, with copy to the Purchaser’s representative, of such suspension within 7 days of having received ADB’s suspension notice.

- if the Supplier has not received sums due it within the 28 days for payment provided for in Clause 11 [Payments], the Supplier may immediately issue a 14-day termination notice.

Any such disclosure shall be forwarded by the Purchaser to ADB.

Any such disclosure shall be forwarded by the Purchaser to ADB.